|  | This checklist is to be used for the pre-purchase and commissioning of plant / equipment (other than items that are low risk and / or manual handheld). The purpose of this checklist is to ensure that hazards are identified early during the pre-purchase phase, and managed during installation/ commissioning, operation, inspection, testing and maintenance of the plant/ equipment according to the Plant and Equipment Safety procedure. Business Area (College / Division/ Research Group/ Project; Click or tap here to enter text.; Date Completed by; Click or tap to enter a date. Click or tap here to enter text.. Details of Plant/equipment (Include Manufacturer, Model details); Click or tap here to enter text.; Location of use (Identify building, area and storage locations, may be multiple locations); Click or tap here to enter text.. Function/ Use of the Plant/ Equipment; Click or tap here to enter text.. |
| --- | --- |

| Pre-purchase and prior to acquisition – items to consider |  |  | Comments | Completed? |
| --- | --- | --- | --- | --- |
| Prior to purchase have you consulted with the workers and others (where relevant) who will be using the plant/ equipment and given them the opportunity to raise any concerns or identify any hazards? |  |  |  | Choose an item. |
| Is the plant/equipment fit for purpose? (e.g. does it address the need and perform the functions required, will it need modification or are there better options?) |  |  |  | Choose an item. |
| Does the plant require registration or licensing? (see the Work Health and Safety Regulations 2012 (SA) or Work Health and Safety Regulations 2011 (NT).) Are there other legislative requirements that apply and if yes does this plant meet them? For example AS/NZ 4024 the requirements of guarding, emergency stops, warning devices and isolation of energy? Also See the Approved Code of Practice Managing risks of Plant in the Workplace |  |  | Click or tap here to enter text. | Choose an item. |
| If you are proposing purchasing the plant/equipment directly from overseas (i.e. not via an Australian supplier or distributor) Does the item meet the requirements of Australian Standards? (Please be aware you become the importer/supplier and will have additional responsibilities under the WHS legislation.) Does the item meet the requirements of the Australian electrical standards and the University’s electrical safety procedures? Further information is available in Safe Work Australia’s “Guidance material for the safe design, manufacture, import and supply of plant |  |  |  | Choose an item. |
| Have you consulted with Property, Facilities Development Division where the installation may affect the University’s building assets? (e.g. air-conditioners / ventilation, electrical, plumbing, floor/ weight restrictions, environmental conditions). |  |  | Click or tap here to enter text. | Choose an item. |
| Prior to purchasing do you need to consider consulting with any other users/ occupiers of the space near or adjacent to the installation (including other businesses, organisations or other persons sharing the space) that may be affected by the installation, commissioning or operation of the plant/equipment? Will the plant make noise, smell, fumes, vibrations and cause other issues? |  |  | Click or tap here to enter text. | Choose an item. |
| If you are purchasing second-hand plant/equipment Have you taken all reasonable steps to obtain all documentation required – including information provided by the manufacturer as required under the WHS Regulations (Section 198)? This includes operator manuals, installation, testing and maintenance records? You will also need to obtain information of any faults, modifications etc. in the plant/equipment including a written notice of the condition of the plant? |  |  |  | Choose an item. |
| Have the plant/equipment inspection and maintenance requirements been identified? Have these been costed in as part of the purchase? |  |  |  | Choose an item. |
| Has training been identified; how many staff will need to be trained? Will they need to be licensed before they can use the plant? Are there special skills/ competencies required for people who operate the plant or carry out inspection and maintenance, including preventative maintenance? |  |  |  | Choose an item. |
| Have you checked the size of the plant? Will access and egress be an issue? (AS 1657 states 600mm is the minimum for walkways and does not obstruct doorways and emergency exits)? Will there be adequate access / space to move safely around the plant? |  |  |  | Choose an item. |
| BEFORE PURCHASE - IDENTIFY THE HAZARDS THE PLANT/ EQUIPMENT WILL INTRODUCE INTO THE WORKPLACE |  |  | Comment | Hazard identified |
| Identify hazards that the plant/ equipment will introduce into the workplace - including during commissioning, installation, use, maintenance etc. What control measures need to be considered and planned for at the time of pre-purchase & during commissioning of the plant based on hazards identified? Identify the hazards. - Risk from rotating parts e.g. blades, wheels or belts - Risk from the plant moving, falling, items been ejected? - Electrical risks? - High pressures e.g. fluids? - Manual handling / ergonomic (e.g. lighting, access, storage, awkward or sustained postures) - Excessive noise or vibration (e.g. will audiometric / noise testing be required? – contact the WHS Unit) or vibration - Chemicals / hazardous substances (including dusts, vapours and fumes, waste and is local extraction ventilation required?) - Ionising radiation - Non-ionising radiation sources including Lasers, or ultraviolet / infrared light - Contact with Hot or extreme cold parts? - Other |  |  | Click or tap here to enter text. | Choose an item. |
| Commissioning |  |  | Comments | Completed? |
| Have you ensured that commissioning will be performed by a suitably competent person(s) and in accordance with the manufacturer’s instructions? |  |  | Click or tap here to enter text. | Choose an item. |
| Have you identified any other hazards during the installation/commissioning process? If yes, have you risk assessed them and have controls been put in place? |  |  | Click or tap here to enter text. | Choose an item. |
| If the person is a contractor, have they undertaken Contractor Registration and inductions with the University? |  |  | Click or tap here to enter text. | Choose an item. |
| Have pre-operational checks been conducted to confirm the plant is in working order and all safety features are functional? |  |  | Click or tap here to enter text. | Choose an item. |
| If plant registration is required with a Regulator, has a copy of the registration and any inspection/ commissioning certificates been obtained and the registration certificate displayed by the plant / equipment? |  |  | Click or tap here to enter text. | Choose an item. |
| Risk Assessment and Procedures |  |  | Comments | Completed? |
| Has a Risk Assessment been completed and does it cover all the tasks involving the use of the plant / equipment including maintenance, testing, emergencies, transport etc. – is this recorded using the Plant risk assessment? |  |  | Click or tap here to enter text. | Choose an item. |
| In developing the risk assessment have you consulted with the workers and others who will be using the plant/equipment, where applicable? |  |  |  | Choose an item. |
| Is a Safe Work Procedure required? (i.e. identified as a control measure on the risk assessment.) |  |  | Click or tap here to enter text. | Choose an item. |
| Will emergency equipment and procedures be available where required? (e.g. emergency shut off/ down, fire extinguishers)? If the plant uses hazardous substances are there spill kits, eye wash, showers, first aid available? |  |  | Click or tap here to enter text. | Choose an item. |
| Instruction and competency-based training |  |  | Comments | Completed? |
| Does the plant/equipment require an appropriate level of instruction and training or legislative competencies to ensure the safety of the workers and others using it? If yes, then - if training is required: - has specific instruction/ training for the workers or others who will operate hazardous plant/equipment been included on the Safe Work Procedure? - Is relevant record keeping of the training in place? (examples may include an online quiz, signing a safe work procedure, or updating a logbook). (see Training and Induction procedures.) - If legislative competencies training is required: - has external training for competency/ licence/ high risk work licence been identified, obtained and recorded on the Training Needs Analysis and Plan (or other equivalent system)? (Note: if training is identified as a control this must be provided before workers and others operate the plant/ equipment.). |  |  | Click or tap here to enter text. | Choose an item. |
| Routine testing, cleaning and maintenance |  |  | Comments | Completed? |
| Is any routine testing, cleaning and maintenance included on a schedule and the completion recorded? |  |  | Click or tap here to enter text. | Choose an item. |
| Have the testing, cleaning and maintenance processes been included on the plant/equipment Risk Assessment & Safe Work Procedure including any need to de-energising, tag out, decontamination or other before the activity occurs? |  |  | Click or tap here to enter text. | Choose an item. |
| Documentation and record keeping |  |  | Comments | Completed? |
| Have all documents for this plant/equipment including Risk Assessments & Safe Work Procedures been recorded / kept as per the records schedule for WHS record management? |  |  | Click or tap here to enter text. | Choose an item. |
| The Supervisor or Area Manager is responsible for ensuring all relevant records for plant / equipment under their control, including for the purchase, commissioning, operation, maintenance and disposal/ decommissioning documentation and can confirm these are kept and accessible? |  |  | Click or tap here to enter text. | Choose an item. |

Commissioning / Installation review: Completed form to be signed off by the relevant Supplier/Installer and Manager/Supervisor.

| Supplier/ Installer: All relevant tests and checks have been performed to ensure the plant/equipment is in a safe state & full working order. |  |  |  |
| --- | --- | --- | --- |
| Name: Click or tap here to enter text. | Position: Click or tap here to enter text. | Business Area: Click or tap here to enter text. | Date:Click or tap to enter a date. |
| Signature: | Comments: Click or tap here to enter text. |  |  |

| Manager/ Supervisor: All hazards and risks to health & safety have been identified and control measures are in place before operation. |  |  |  |
| --- | --- | --- | --- |
| Name: Click or tap here to enter text. | Position: Click or tap here to enter text. | Business Area: Click or tap here to enter text. | Date:Click or tap to enter a date. |
| Signature: | Comments: Click or tap here to enter text. |  |  |